## Slide 1: Special Course on Modelling Supermarket Refrigeration Systems
Zoltan Mark Pinter, s172040
Supervisor for special course: Dimitrios Papageorgiou <dimpa@elektro.dtu.dk>

## Slide 2: Schedule
Description of model
Description of architecture
Results
Quick description of Modelica and TIL
Comparison of the two implementation

## Slide 3: Description of model
Gas Cooler as main perspective
Cooler
Boundary conditions
Supercritical design point
Basic equations:
  Energy balance
  Mass Balance
  Partial differential rule
  Low pass filter

## Slide 4: Description of model: Volumes
Tank
  Inheritance: receiver and evaporator
Heat Exchanger
Joint matrix, excitation
Receiver: noheat transfer, and outlet states separately calculated
Evaporator: BC with given heat and enthalpy outlet, THEN volume

## Slide 5: Description of model: Gas cooler
Constant volume cell structure to model heat transfer correctly
Low pass filters for interactions
States: pressure, enthalpy, density
Tube resistance: mass flow rate states
Thermal resistance: air temperature states

## Slide 6: Description of model: concentrated elements with states
Fan:
Valves:
Compressor (MT):

## Slide 7: Description of model: constraints
Order of assignments is important

## Slide 8: Description of acrhitecture
Solver: ode15s
  Explicit solver
  For stiff equations
Modularity
Connect function for outer constaints

## Slide 9: Results
Volume flow value is wrong (does not satisfy energy balance for air)

## Slide 10: Results
Volume flow value is wrong (does not satisfy energy balance for air)

## Slide 11: Results
Volume flow value found with sigma*10

## Slide 12: Results
Entire system with no LPFs for flow resistance and heat flow

## Slide 13: Modelica and TIL (KoolLibrary)
Object oriented programming
More systemized
Dymola IDE gives the opportunity for ‘visual coding’
Two level solver architecture
  explicit inner, implicit outer, DAE solvers (DASSL)
PI controllers

## Slide 14: Comparison of KoolLibrary and matlab model
TIL has extreme value handling and some smoothing functions, e.g. for square root
TIL
  does not state equations for mass flow rate in gas cooler (optimizes for it)
  neglects –p/d*dp term at volumes
  has more states describingheat flow dynamics in gas cooler (gas and wall cells)
  There is no natural convection
TIL uses low level coded CoolProp, matlab model uses high level (slower)
Modelica uses DASSL solver:
  More stuck initially and provides wrong transients, then speeds up close to steady state
Matlab model is
  about 100 slower (partially due to handling sampled control actions)
  provides more reliable initial transients,
Conclusion:
  matlab model is better used for initial model check for model based controller design
  but experiments shall be done on the Modelica model

## Slide 15: Master Thesis
Gas Loop
  Deviation or hysteresis in temperature measurement
  -> Fluid heats up and loses heat gaining capacity
  -> Hot gas is circulated, while cabinets warm up
Model for thesis: heat recovery and bypass valve added, cooler volume excluded
  -> reducing model uncertainty
  Only for control purposes
Current solution: increasing pressure temporarily
Possible tasks:
  Identification of highly nonlinear parameters
  Estimation for control
  Control in a feasible way (with early detection, or robust control?)

## Slide 16: Thank you for the attention!